## Slide 1
Cell-Free DNA Blood Test for Colorectal Cancer Screening
Original Article
EBGI Summary
Article covered: Chung DC, Gray DM 2nd, Singh H, et al. A cell-free DNA blood-based test for colorectal cancer screening. N Engl J Med. 2024 Mar 14;390(11):973-983.

## Slide 2: Study Question
What is the sensitivity & specificity of a cell-free DNA (cfDNA) blood test for colorectal cancer (CRC) screening for detection of Stage I, II, and III CRC and advanced precancerous lesions in average-risk individuals aged 45-84 years old?

## Slide 3: Why is This Important?
Only 59% of the eligible United States population is up-to-date on colorectal cancer (CRC) screening
  Roughly 40 million CRC screening-eligible Americans are unscreened
A blood test may offer a simple intervention to those who decline colonoscopy and annual stool testing
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 4: Study Design
Design: Prospective observational diagnostic test study using colonoscopy as the gold standard for detection of CRC & precancerous lesions
Setting: 265 primary care & endoscopy centers in the United States
Patients: Average-risk individuals aged 45-84 years old scheduled for CRC screening colonoscopy
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.
Americans at average risk for CRC
cfDNA Assay Screen
Sensitivity & Specificity of CRC and APL detection
Colonoscopy performed within 60 days of blood draw
Positive or Negative?

## Slide 5: Study Design
Inclusion criteria
  Average risk for CRC
  45-84 years old
  Already scheduled for colonoscopy
Exclusion criteria
  History of inflammatory bowel disease
  Family history of CRC in first-degree relative
  Prior history of adenomatous polyps
  Up-to-date with CRC screening
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 6: Interventions
Whole blood samples (30-80 mL) were collected
Shipped at ambient temperatures to central biorepository, then processed to plasma
Stored at -80°C until the assay was performed
Assay evaluated for extracellular DNA molecules in plasma that were released from tissue into bloodstream
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.
Cell-free DNA Assay looks for:
  Aberrant DNA methylation status
  Aberrant DNA fragmentation pattern
  Pathogenic variant of KRAS and/or APC gene
Used these data & a logistic regression model
Binary outcome (abnormal or normal signal detected) reported

## Slide 7: Outcomes & Definitions
Coprimary outcomes
  Sensitivity (percentage of individuals with the disease who have a positive test) for CRC – including Stage I, II, and III
  Specificity (percentage of individuals without the disease who have a negative test) for CRC & advanced precancerous lesions (APL)
    APL defined as adenomas >10 mm, adenoma with villous histology or high-grade dysplasia, carcinoma in situ, or serrated lesion >10 mm
Secondary outcome was sensitivity for APL
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 8: Results
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.
22,877 Participants enrolled
10,258 Were including in clinical validation cohort
12,619 Were not included in clinical validation cohort
2397 Were excluded
157 Were ineligible
1151 Did not complete colonoscopy
578 Had invalid, incomplete, or poor colonoscopy
213 Were not tested (blood sample was not obtained or was inadequate, consent was withdrawn, or sample data was not available at time of testing)
298 Had invalid blood test result
7861 Were able to be evaluated
65 Had colorectal cancer
1116 Had advanced precancerous lesions
2166 Had nonadvanced adenoma
4514 Had negative test for colorectal neoplasia
Clinical Validation Cohort: 7,681 patients
Mean age 60.2 ± 8.2
53.7% Female
76.2% White
12.7% Black
8.2% Asian
14.4% Hispanic or Latino ethnicity

## Slide 9: Results
Disease | Sensitivity (95% CI) | Specificity (95% CI)
Stage I-III CRC | 87.5% (75-94) | 
Stage I CRC | 65% (41-83) | 
Stage II CRC | 100% (78-100) | 
Stage III CRC | 100% (82-100) | 
Advanced Precancerous Lesion (APL) | 13.2% (11-15) | 89.6% (89-90)
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 10: Key Study Findings
For CRC Stage I-III, sensitivity of cfDNA blood-based test was 87.5% (95% CI 75-94%)
However, cfDNA test is likely to only catch CRC in advanced stages
  Only 11 of 17 individuals with Stage I CRC had positive test
cfDNA blood-based test has poor APL sensitivity (13.2%; 95% CI 11-15)
  Only 147 of 1,1116 individuals had positive test
Chung et al. NEJM. 2024;390(11):973-983. Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 11: Study Limitations
Unclear testing frequency
  Manufacturer recommends every 3 years testing, which is more convenient than annual FIT testing
  There is no available data supporting this recommendation
Unclear guidance on cfDNA false positives
  Any solid tumor can release cfDNA into the blood
  What should we do with (+) cfDNA and (-) colonoscopies?
  Should these patients be worked up for other occult malignancy?
Schoenfeld P. Evidence-Based GI April 2024: 1-5.

## Slide 12: How Should We Apply This to Our Practice?
How do you explain the limitations of blood-based CRC screening tests to interested patients?
Is there a niche for blood-based CRC in our clinical setting – especially without Medicare coverage?
How would you counsel patients regarding the risks and benefits between multi-target stool DNA tests and blood-based tests?
Schoenfeld P. Evidence-Based GI April 2024: 1-5.